Supplemental Table 1: Platelet dense granule interpretation performance among 6 technologists.

|  |  |  | Interpretation Accuracy by 6 Technologists (%) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year | Sessions | Objects | A | B | C | D | E | F |
| 2016 | #1 | 42 | 83.3 | – | 83.3 | – | 83.3 | – |
| 2016 | #2 | 37 | 83.8 | – | 86.5 | 81.1 | 81.1 | – |
| 2017 | #1 | 47 | 100.0 | – | 94.0 | 98.0 | 98.0 | – |
| 2017 | #2 | 26 | 96.0 | – | 96.0 | 96.0 | 100.0 | – |
| 2018 | #1 | 49 | 88.0 | – | 88.0 | 90.0 | 88.0 | – |
| 2018 | #2 | 36 | 83.3 | 86.1 | 91.7 | 91.7 | 91.7 | – |
| 2019 | #1 | 34 | 100.0 | 100.0 | 100.0 | 91.2 | 100.0 | – |
| 2019 | #2 | 36 | 91.7 | 97.2 | 97.2 | 100.0 | 88.9 | – |
| 2020 | #1 | 28 | 96.4 | 100.0 | 92.9 | 96.4 | 89.3 | – |
| 2020 | #2 | 31 | 90.3 | 93.6 | 93.6 | 100.0 | 96.8 | – |
| 2021 | #1 | 37 | 94.6 | 94.6 | 94.6 | 94.6 | 94.6 | – |
| 2021 | #2 | 29 | 93.1 | 93.1 | 82.8 | 100.0 | 100.0 | – |
| 2022 | #1 | 35 | 94.3 | 100.0 | 94.3 | 97.1 | 97.1 | – |
| 2022 | #2 | 22 | 90.9 | 81.8 | 81.8 | 95.5 | 90.9 | – |
| 2023 | #1 | 29 | 93.1 | 97.0 | 89.7 | 100.0 | 100.0 | 93.1 |
| 2023 | #2 | 29 | 100.0 | 86.2 | 96.6 | 93.1 | 93.1 | 89.7 |
| 2024 | #1 | 26 | 100.0 | 85.0 | 100.0 | 100.0 | 100.0 | – |
| 2024 | #2 | 29 | 100.0 | 93.1 | 89.7 | 93.1 | 96.6 | 93.1 |

Platelet whole mount electron microscopy images of the North American Specialized Coagulation Laboratory Association (NASCOLA) platelet electron microscopy dense granule interpretation proficiency testing program from 2016 to 2024 were used to assess the proficiency of the 6 technologists, A-F, twice per year (#1 and #2). Technologists interpreted all objects in each session twice per year and compared their results to the correct answers provided by NASCOLA. Their rates of agreement were recorded as percentages. An acceptance criterion for this exercise was set at 80%.